## Waveform Library Files
Waveform Library Data Files for Culex tarsalis mosquitoes on human hands
Ri level (10^x Ω) | Voltage (mV) | Current | Gain adjusted? | Peaked out? | bad wiring job? | DC foldover? | Noise in pre-signal from interfering ground loop? | # of channels recorded | Total file duration (s) | Name of data file | Notepad file name | Host | Total # of probes | Duration of probe 1 (min) | Duration of probe 2 (min) | Duration of probe 3 (min) | Duration of probe 4 (min) | Duration of probe 5 (min) | Total probing duration (min) | Comments
6 | 250 | AC | Y | N | N | N | Y | 8 | 871 | CxT hand 8Sep2021 no 1 | a2 | B | 1 | 8.72 |  |  |  |  | 8.72 | lots of abnormalities in this probe
6 | 250 | AC | N | N | N | N | Y | 8 | 844.2 | CxT hand 8Sep2021 no 4 | a3 | B | 1 | 11.09 |  |  |  |  | 11.09 | sort of ugly, weird humps & spikes throughout
6 | 250 | AC | Y | N | N | N | Y | 8 | 400.5 | CxT hand 30Aug2021 no 2 | a1 | A | 1 | 5.443 |  |  |  |  | 5.443 | beatutiful probe
6 | 250 | AC | N | N | N | N | Y | 8 | 813.74 | CxT on hand 10Nov2021 no5 | a5 | C | 1 | 10.2252 |  |  |  |  | 10.2252 | Beautiful probe. M very wavy and all over the place
6 | 250 | AC | N | N | N | N | Y | 8 | 842.31 | CxT on hand 19Nov2021 no7b | a6 | A | 1 | 5.6415 |  |  |  |  | 5.6415 | nice recording but odd region (L3) between L/M
6 | 250 | AC | N | N | N | N | Y | 8 | 1057.81 | CxT on hand 22Sep2021 no8 | a4 | B | 2 | 4.0313 | 9.6403 |  |  |  | 13.6716 | nice probes
6 | 250 | AC | N | N | N | N | N | 8 | 871.65 | CxT on hand KC 22Feb2022 no02 | a7 | A | 1 | 5.4047 |  |  |  |  | 5.4047 | beautiful probe, lots of spikes during L
7 | 150 | AC | N | N | N | N | Y | 8 | 813.74 | CxT on hand 8Dec2021 no10B | b6 | B | 1 | 2.149 |  |  |  |  | 2.149 | odd probe, only M3, K is ugly (has extra proceeding spike)
7 | 150 | AC | N | N | N | N | Y | 8 | 589.16 | CxT on hand 8Dec2021 no12 | b3 | B | 1 | 9.115 |  |  |  |  | 9.115 | double humps on K, strange humps in L
7 | 150 | AC | N | Y | N | N | Y | 8 | 520.65 | CxT on hand 10Nov2021 no7 | b1 | C | 2 | 2.068 | 5.4473 |  |  |  | 7.5153 | the second probe has a small K and a huge spike in the middle of L; first probe has odd voltage spikes/shifts in it too & peaked out just a little
7 | 150 | AC | N | N | N | N | Y | 8 | 749.84 | CxT on hand 22Sep2021 no9 | b5 | B | 1 | 9.361 |  |  |  |  | 9.361 | beautiful probe
7 | 150 | AC | N | N | N | N | N | 8 | 1031.8 | CxT on hand 24Nov2021 no9 | b2 | A | 2 | 0.2205 | 8.4468 |  |  |  | 8.6673 | Ugly and abnormal! In second probe K is just one ugly hump and here is a huge voltage drop in the middle of L
7 | 150 | AC | N | Y | N | N | N | 8 | 1268.25 | CxT on hand K cage 16Feb2022 no05 | b7 | A | 2 | 4.628 | 11.969 |  |  |  | 16.597 | beautiful probes, but lots of L3; only peaked out a little during first probe
7 | 150 | AC | N | N | N | N | N | 2 | 978.44 | CxT on hand KS cage 9Mar2022 no03 | b8 | C | 1 | 5.77 |  |  |  |  | 5.77 | nice probe but start of probe has lots of big peaks!
7 | 150 | AC | N | N | N | N | N | 2 | 1263.63 | CxT on hand KS cage 9Mar2022 no05 | b9 | C | 1 | 19.8863 |  |  |  |  | 19.8863 | nice probe
7 | 150 | AC | N | N | N | N | N | 2 | 3445.2 | CxT on hand KS cage 9Mar2022 no07 | b10 | C | 4 | 5.016 | 3.277 | 5.6805 | 29.9215 |  | 43.895 | Longest probe ever after multiple other probes
7 | 150 | AC | Y | Y | N | Y | Y | 8 | 1216.67 | hand CxT test 17Aug 2021 no2 | b4 | A | 2 | 6.88 | 6.999 |  |  |  | 13.879 | spiky baseline, inverted J, big spike and mohawk at the beginning (i.e., K and early L)
8 | 75 | AC | N | N | N | N | N | 8 | 643.2 | CxT on hand 10Nov2021 no10 | c3 | C | 1 | 9.249 |  |  |  |  | 9.249 | Ugly probe, with odd topography in L, lots of humps and bumps in voltage
8 | 75 | AC | N | N | N | N | N | 8 | 762.09 | CxT on hand 21Oct2021 no4 | c2 | A | 2 | 3.423 | 4.893 |  |  |  | 8.316 | nice probe but lots of voltage shifts from L3
8 | 75 | AC | N | N | N | N | N | 8 | 1014.6 | CxT on hand 24Nov2021 no12 | c4 | A | 1 | 14.697 |  |  |  |  | 14.697 | long probe but fairly pretty, very spikly part in L
8 | 75 | AC | N | N | N | N | N | 8 | 923.91 | CxT on hand 30Nov2021 no1 | c5 | A | 1 | 11.508 |  |  |  |  | 11.508 | Lots of odd voltage step-ups during L
8 | 75 | AC | N | N | N | N | N | 8 | 751.52 | CxT on hand KC 22Feb2022 no06 | c6 | A | 1 | 4.069 |  |  |  |  | 4.069 | very samll M waves, very ugly K
8 | 75 | AC | Y | Y | N | N | N | 8 | 468.65 | hand CxT 20Aug2021 no 6 | c1 | C | 1 | 6.264 |  |  |  |  | 6.264 | normal probe, but distorted by peaking out and the gain change
9 | 75 | AC | N | N | N | N | N | 8 | 708.61 | CxT on hand 6Dec2021 no2 | d5 | C | 2 | 0.1026 | 5.4475 |  |  |  | 5.5501 | very pretty recording
9 | 75 | AC | N | N | N | N | N | 8 | 1713.92 | CxT on hand 10Nov2021 no11 | d3 | C | 1 | 18.547 |  |  |  |  | 18.547 | very pretty probe
9 | 75 | AC | N | Y | N | N | N | 8 | 724.14 | CxT on hand 14Dec2021 no01 | d6 | D | 1 | 9.827 |  |  |  |  | 9.827 | ugly recording; minor peaking out during big peaks, strange large peaks in the middle of recording.
9 | 75 | AC | N | N | N | N | N | 8 | 1501.92 | CxT on hand 14Jan2021 no01 | d7 | A | 5 | 8.508 | 1.635 | 3.517 | 0.367 | 7.839 | 21.866 | pretty probes
9 | 75 | AC | N | N | N | N | N | 8 | 895.79 | CxT on hand 21Oct2021 no6b | d2 | A | 1 | 5.5746 |  |  |  |  | 5.5746 | decent probe
9 | 75 | AC | N | N | N | N | N | 8 | 464.45 | CxT on hand 30Nov2021 no6b | d4 | A | 2 | 1.628 | 3.8102 |  |  |  | 5.4382 | pretty recording, but strange voltage hump at beginning of M
9 | 75 | AC | N | N | N | N | N | 8 | 493.21 | CxT on hand KC cage 24Feb2022 no13 | d8 | A | 1 | 6.798 |  |  |  |  | 6.798 | pretty recording
9 | 75 | AC | N | N | N | Y | N | 8 | 7751.9 | hand CxT test 3Aug 2021 | d1 | A | 1** | 8.7312 |  |  |  |  | 8.7312 | **Five insects recorded in one file! this insect (No 4) starts at 31.6 (probing from 33.7-39.8); odd recording, the whole probe has a downward slope, probably 5 other probes in the recording
6 | 250 | DC | N | N | N | N | Y | 8 | 853.12 | CxT hand 1Sep2021 no1 | e2 | E | 5 | 1.3823 | 1.357 | 1.0735 | 1.176 | 4.0165 | 9.0053 | pretty probes
6 | 250 | DC | N | N | N | N | N | 8 | 718.74 | CxT hand 8Sep2021 no 8 | e3 | B | 1 | 10.479 |  |  |  |  | 10.479 | standard L with one big spike in the midle and then a few odd spikes before M, big voltage humps during early M
6 | 250 | DC | Y | Y | N | N | N | 8 | 584.76 | CxT hand 30Aug2021 no 11 | e1 | A | 1 | 7.895 |  |  |  |  | 7.895 | Beatutiful, but changed gain during probe, very minor peaking out
6 | 250 | DC | N | N | N | N | N | 8 | 410.44 | CxT on hand 8Dec2021 no07 | e6 | B | 1 | 5.9045 |  |  |  |  | 5.9045 | Large hump during early M, and lots of voltage spikes during L
6 | 250 | DC | N | N | N | N | N | 8 | 509.96 | CxT on hand 18Nov2021 no4 | e5 | F | 3 | 1.562 | 1.4078 | 3.9072 |  |  | 6.877 | Odd K with late spikes during 3rd probe followed by huge L peaks, voltage slopes down during M
6 | 250 | DC | N | N | N | N | N | 8 | 642.72 | CxT on hand 22Sep2021 no7 | e4 | B | 1 | 7.3658 |  |  |  |  | 7.3658 | very nice probe! But very spiky L
6 | 250 | DC | Y | Y | N | N | N* | 8 | 748.16 | CxT on hand KC cage 25Feb2022 no01 | e7 | A | 2 | 5.3216 |  |  |  |  | 5.3216 | *some intermittent line noise in pre-signal; first probe ugly but second is pretty
7 | 150 | DC | N | N | N | N | Y | 8 | 990.12 | CxT hand 1Sep2021 no7 | f3 | E | 2 | 4.369 | 8.7415 |  |  |  | 13.1105 | nice recording
7 | 150 | DC | Y | Y | N | N | N | 8 | 1150.68 | CxT hand 30Aug2021 no 12 | f2 | A | 1 | 18.1397 |  |  |  |  | 18.1397 | Ugly! first of probe peaked out, multiple gain changes throughout.
7 | 150 | DC | N | N | N | N | N | 8 | 708.08 | CxT on hand 8Dec2021 no05 | f6 | B | 1 | 6.77 |  |  |  |  | 6.77 | pretty probe
7 | 150 | DC | N | N | N | N | N | 8 | 375.48 | CxT on hand 19Nov2021 no2b | f5 | A | 1 | 4.036 |  |  |  |  | 4.036 | hard to decipher waveforms
7 | 150 | DC | N | N | N | N | N | 8 | 1032.57 | CxT on hand 21Sep2021 no8 | f4 | A | 1 | 9.6368 |  |  |  |  | 9.6368 | ugly and abnormal recording with lots of weird humps and voltage kept dropping back to baseline during the probe
7 | 150 | DC | N | N | N | N | N | 8 | 1094.7 | CxT on hand KC cage 24Feb2022 no12b | f7 | A | 2 | 1.556 | 10.5156 |  |  |  | 12.0716 | good recording but very spiky throughout 2nd probe
7 | 150 | DC | Y | Y | N | N | N | 8 | 883.08 | hand CxT 23Aug2021 no 6 | f1 | C | 1 | 10.83 |  |  |  |  | 10.83 | ugly due to gain changes flatlining and bad wiring job. patchy M, and a very large spike in the middle of M
8 | 75 | DC | Y | Y | N | N | N | 8 | 1435.94 | CxT on hand 8Dec2021 no02 | g4 | B | 2*** | 8.4806 |  |  |  |  | 8.4806 | **Two insects accidentally recorded in the same file!! The first insect (No2) probed once without ingesting and was not scored (everything before 787.52). The second insect (No3) fed to repletion (second probe in recording starting at TBF 832.90). Flatlined during second probe in file and had to adjust gain in the middle; also 3 big peaks during L
8 | 75 | DC | N | N | N | N | N | 8 | 409.2 | CxT on hand 8Dec2021 no03 | g5 | B | 1 | 6.357 |  |  |  |  | 6.357 | Probe starts as soon as the recording does, Large spiky region in early L. (Note: file labed as #3 but is actually insect #4).
8 | 75 | DC | N | Y | N | N | N | 8 | 1191.71 | CxT on hand 18Nov2021 no8 | g3 | F | 1 | 12.114 |  |  |  |  | 12.114 | Lots of hills and strange voltage changes in L
8 | 75 | DC | Y | Y | N | N | N | 8 | 1717.76 | CxT on hand 22Sep2021 no4 | g2 | B | 4 | 0.8066 | 0.5358 | 2.558 | 17.9375 |  | 21.8379 | Beautiful example of L3, M3, M4, N. Slight peaking out during first probe. Adjusted gain before ingestion probe I think
8 | 75 | DC | N | N | N | N | N | 8 | 1323.63 | CxT on hand KC cage 24Feb2022 no15 | g6 | A | 2 | 3.3068 | 13.5758 |  |  |  | 16.8826 | weird voltage shifts in L
8 | 75 | DC | N | N | N | N | N | 8 | 1060.97 | CxT on hand KC cage 25Feb2022 no05 | g7 | A | 1 | 11.1227 |  |  |  |  | 11.1227 | Ugly probe with strange voltage shifts (Note: event marker says Ri=109 but the Ri level was never turned from 8 to 9 on HA)
8 | 75 | DC | N | N | N | N | N | 8 | 745.36 | CxT on hand KC cage 25Feb2022 no06 | g8 | A | 1 | 7.6158 |  |  |  |  | 7.6158 | very pretty but with downward slope to voltage
8 | 75 | DC | Y | Y | N | N | N | 8 | 601.65 | hand CxT 23Aug2021 no 8 | g1 | C | 2 | 0.07516 | 7.3558 |  |  |  | 7.431 | some noise present in pre-signal
9 | 75 | DC | N | N | N | N | N | 8 | 817.4 | CxT on hand 6Dec2021 no3 | h5 | C | 2 | 3.476 | 6.4286 |  |  |  | 9.9046 | pretty recording
9 | 75 | DC | Y | Y | N | N | N | 8 | 960.48 | CxT on hand 8Dec2021 no09 | h6 | B | 2 | 4.8855 | 6.78 |  |  |  | 11.6655 | fine except for gain change and peaking out
9 | 75 | DC | N | N | N | N | N | 8 | 787.06 | CxT on hand 14Jan2021 no03 | h8 | B | 1 | 10.936 |  |  |  |  | 10.936 | odd voltage humps at end of M/early N, pretty recording otherwise
9 | 75 | DC | N | N | N | N | N | 8 | 374.64 | CxT on hand 14Jan2021 no08 | h7 | A | 1 | 5.263 |  |  |  |  | 5.263 | pretty probe, but noisy baseline
9 | 75 | DC | Y | Y | N | N | N | 8 | 600.3 | CxT on hand 19Nov2021 no5 | h4 | A | 1 | 6.724 |  |  |  |  | 6.724 | fine except for gain change and peaking out
9 | 75 | DC | N | N | N | N | N | 8 | 1484.07 | CxT on hand 22Oct2021 no7 | h2 | F | 2 | 1.643 | 20.268 |  |  |  | 21.911 | there are some voltage abnormalities in L and near the end
9 | 75 | DC | N | N | N | N | N | 8 | 521.82 | CxT on hand 22Sep2021 no6 | h1 | B | 1 | 4.0025 |  |  |  |  | 4.0025 | great recording, but some weirdness just before J
9 | 75 | DC | N | N | N | N | N | 8 | 1448.28 | CxT on hand 27Oct2021 no9 | h3 | B | 1 | 17.1843 |  |  |  |  | 17.1843 | beautiful
9 | 75 | DC | N | N | N | N | N | 8 | 414.47 | CxT on hand KC cage 24Feb2022 no14 | h9 | A | 1 | 4.656 |  |  |  |  | 4.656 | very ugly; something strange happened ar the end that caused huge voltage rises, very od K as well-it has ears